Schedule 1: Thirst Relief Repair & Maintenance (R&M) Toolkit

| Thirst Relief R&M Toolkit |  |  |  |  |
| --- | --- | --- | --- | --- |
| S.No. | Items (Specification) | Unit Price (PKR) | Quantity | Total (PKR) |
| 1 | Pipe Wrench (12 inches) | 1 |  |  |
| 2 | Key/Chabi (10–12 inch or 21 inch) & 21 inch | 2 |  |  |
| 3 | Hard Rod (5 ft) | 1 |  |  |
| 4 | Boki & Leather Washer | 10 |  |  |
| 5 | Clips | 10 |  |  |
| 6 | Nut & Bolts | 20 |  |  |
| 7 | Bag or Box with Donor Logo | 1 |  |  |
| Total |  |  |  |  |

Schedule 2: Bill of Quantities (BOQ) – AFRIDEV Hand Pump

| Bill of Quantities (BOQ) – AFRIDEV Hand Pump |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| S.No. | Item | Unit | Unit Rate (PKR) | Quantity | Cost of AFRIDEV (PKR) |
| A – Materials |  |  |  |  |  |
| 1 | AFRIDEV Complete Set with Nut Bolt Assembly – Pump Head, Handle, Spout, Flange, Rising Pump Rod, Plunger, Pipe Cylinder, Foot Valve, Reducer, Suction Pipe Complete in all respects (Local Swabi Made) | No |  | 1 |  |
| 2 | Boring (120 to 150 Rft) | Rft |  | 150 |  |
| 3 | Brick Ballast | Cft |  | 33 |  |
| 4 | Sand | Cft |  | 104 |  |
| 5 | Cement | Bags |  | 3 |  |
| 6 | Bricks (1st Class) | Nos |  | 319 |  |
| 7 | Aggregates (Crush) | Cft |  | 10 |  |
| 8 | PVC Pipe | Nos |  | 30 |  |
| 9 | PVC Socket | Nos |  | 3 |  |
| 10 | PVC Elbow | Nos |  | 1 |  |
| 11 | Steel Mesh / Jalli | Nos |  | 1 |  |
| 12 | Plaque Printing | LS |  | 1 |  |
| 13 | Transportation Charges | LS |  | 1 |  |
| Sub-Total (Materials) |  |  |  |  |  |
| Admin Cost |  |  |  |  |  |
| Total (Materials) |  |  |  |  |  |
| B – Labour Calculation |  |  |  |  |  |
| 1 | Labour – Skilled | Man Days |  | 3 |  |
| 2 | Labour – Unskilled | Man Days |  | 3 |  |
| Total (Labour) |  |  |  |  |  |
| Grand Total – Materials and Labour |  |  |  |  |  |

Schedule 3: Abstract of Cost – Shallow Wells (Hand Pump Installation)

| Abstract of Cost – Shallow Wells |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| # | Description of Supplies Required | Specification Required | Unit | Est. Qty (A) | Unit Price (PKR) – incl. taxes, packing, loading/unloading, labelling & transportation (B) | Total Price per Item – incl. all applicable taxes (C = A × B) |
| Section A – For Main Apron Structure |  |  |  |  |  |  |
| 1. | Hand Pump Machine (complete in all respects) | Providing of Hand Pump 3″ Dia IIL-EEL Karachi GI Pipe, with complete accessories, machine size at least 5 feet or longer, Thread, Joint Solution (Teflon Tape), Valve, Piston and 10 to | Nos | 1 |  |  |
| 2. | Suction Pipe | Lowering of HDPE pipe 1.25″ dia 32mm minimum wall thickness 2.4mm, weight 0.24 kg/M | Rft | 65 |  |  |
| 3. | Filter Pipe and Casing | Lowering of UPVC 3″ dia Class-B pipe 3.4mm Thickness: 3.5 KG to 4 KG (Casing Pipe) Length 10 feet | Rft | 50 |  |  |
| 4. | Solution | Solution for joint 0.5 Pound | Nos | 1 |  |  |
| 5. | Providing of Floor Trap (Plastic Jalli) | Providing of floor trap (plastic Jalli) for waste water | Nos | 1 |  |  |
| 6. | Providing of UPVC Elbow | Providing of UPVC elbow | Nos | 1 |  |  |
| 7. | Providing of PVC Waste Water Pipe | For wastewater PVC pipe 3″ Dia pipe | Nos | 1 |  |  |
| Sub-Total for Section A |  |  |  |  |  |  |
| Section B – Additional Materials & Labour |  |  |  |  |  |  |
| 8. | Fired Bricks | 1st class with 1500 PSI, regular shape, clear ringing sound, and uniform in colour | Nos | 200 |  |  |
| 9. | Cement | 50 Kg bag, with 7000 PSI | Bags | 2 |  |  |
| 10. | Sand | Sharp, cubical, free of impurities | Cft | 6 |  |  |
| 11. | Stone Ballast / Brick Ballast | ¾″ to 1.5″ cubical in shape | Cft | 8 |  |  |
| 12. | Cloth or Jailli | Cloth/Jalli for filter of Dia 1.25″ × 10′ | Rft | 10 |  |  |
| 13. | Printed Plaque | 2′ × 1.5′ steel plate (with TR logo and unique name and number for every HP) [a portion of plaque will be 2′ × 3′] | No | 1 |  |  |
| 14. | Skilled/Unskilled Labour | For installation, boring/drilling of 3″ diameter bore (65 RFT) and fixing of Hand Pump complete in all respects | No | 1 Hand Pump |  |  |
| 15. | Sticker for Hand Pump Covering | Orange colour vinyl sticker, best quality (12″ × 24″ sq. inches approx.) | No | 1 |  |  |
| 16. | Skilled/Unskilled Labour for Masonry Work | Skilled/unskilled labour for construction of Pedestal, Apron, Washing Pad and drain with plastering | No | 1 Hand Pump |  |  |
| Sub-Total for Section B (Partners) |  |  |  |  |  |  |
| Section C – Soakage Pit Construction |  |  |  |  |  |  |
| 15. | Bricks for Soakage Pit | 1st class with 1500 PSI, regular shape, clear ringing sound, and uniform in colour | Nos | 220 |  |  |
| 16. | Cement for Soakage Pit | 50 Kg bag, with 7000 PSI | Bags | 1 |  |  |
| 17. | Steel for Soakage Pit Slab | ½″ Dia Round Bar | KG | 6 |  |  |
| 18. | Brick Ballast for Soakage Pit | 3/4″ to 1.5″ size | Cft | 5 |  |  |
| 19. | Crush for Soakage Pit | 1/2″ to 3/4″ | Cft | 5 |  |  |
| Sub-Total for Section C (Partners) |  |  |  |  |  |  |
| Total B |  |  |  |  |  |  |
| Total A |  |  |  |  |  |  |
| Total Cost per Hand Pump Installation (inclusive of all expenses and taxes) |  |  |  |  |  |  |